CATCH BASIN INSPECTION FORM

Job No.: \_\_\_\_\_\_\_\_\_\_\_ Town: \_\_\_\_\_\_\_\_\_\_\_ Inspector: \_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_

|  |  |  |
| --- | --- | --- |
| **Catch Basin I.D.** | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | **Final Discharge from Structure?** Yes [ ]  No [ ] **If Yes, Discharge to Outfall No:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| **Catch Basin Label:** | **Stencil [ ]  Ground Inset [ ]  Sign [ ]  None [ ]  Other\_\_\_\_\_\_\_\_\_\_\_\_\_\_** |
| **Basin Material:** | Concrete [ ] Corrugated metal [ ] Stone [ ] Brick [ ] Other:       [ ]  | **Catch Basin Condition:** | Good [ ]  Poor [ ] Fair [ ]  Crumbling [ ]  |
| **Pipe Material:** | Concrete [ ] HDPE [ ] PVC [ ] Clay Tile [ ] Other: \_\_\_\_\_ | **Pipe Measurements:**  | Inlet Dia. (in): d= \_\_\_\_Outlet Dia. (in): D= \_\_\_\_ |
|  |
| **Required Maintenance/ Problems (check all that apply):**[ ]  Tree Work Required [ ]  New Grate is Required[ ]  Pipe is Blocked[ ]  Frame Maintenance is Required[ ]  Remove Accumulated Sediment [ ]  Pipe Maintenance is Required[ ]  Basin Undermined or Bypassed  | [ ]  Cannot Remove Cover[ ]  Ditch Work [ ]  Corrosion at Structure [ ]  Erosion Around Structure[ ]  Remove Trash & Debris [ ]  Need Cement Around Grate**Other:**  \_\_\_\_\_ \_\_\_\_\_ \_\_\_\_\_ |
| **Catch Basin Grate Type:**Bar: [ ] Cascade: [ ] Other: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Properly Aligned: Yes [ ]  No [ ]  | **Sediment Buildup Depth:**0-6 (in):      6-12(in):       12-18 (in):       18-24 (in):       24 + (in):       | **More than 50% full?**Yes [ ]  No [ ]  | **Description of Flow:**Heavy [ ] Moderate [ ] Slight [ ] Trickling [ ]  | **Street Name/ Structure Location:** |
| **\*If the outlet is submerged check yes and indicate approximate height of water above the outlet invert.** h above invert (in):  | Yes [ ]  | No [ ]  |
| **[ ]  Flow** | **Observations:** | **Circle those present:** |
| **[ ]  Standing Water** | Color: |  | FoamSanitary WasteOrange StainingExcessive sedimentOther:**\_\_\_\_\_\_\_** | Oil SheenBacterial SheenFloatablesPet Waste Optical Enhancers |
| **(check one or both)** | Odor: |  |
| **Weather Conditions :** | Dry > 24 hours [ ]  | Wet [ ]  |
| **Sample of Screenings Collected for Analysis?** Yes [ ]  No [ ]  |
| **Amount of sediment removed:**  |
| **Comments:** |

**Catch Basin Inspection and Cleaning Log**

**##MUNICIPALITY, Massachusetts**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Date** | **Inspector** | **Weather Conditions** | **Number of Catch Basins Inspected/Cleaned** | **Amount of Material Removed** | **Catch Basins More Than 50% Full** | **Corrective Action Taken/Recommended****if More Than 50% Full** |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |