SOP 5: CONSTRUCTION SITE INSPECTION

Construction sites that lack adequate stormwater controls can contribute a significant amount of sediment to nearby bodies of water. This Standard Operating Procedure describes the major components of a municipal Stormwater Construction Inspection Plan, as well as procedures for evaluating compliance of stormwater controls at construction sites.

Stormwater Construction Inspection Plan

A stormwater Construction Site Inspection program is a program developed by municipalities to track, inspect, and enforce local stormwater requirements at construction sites.

This SOP assumes that the municipality has legal authority (i.e., a bylaw or ordinance) in place, per the requirements of the 2003 Massachusetts MS4 Permit, to require sediment and erosion control at construction sites. This legal authority must require construction site operators “to implement a sediment and erosion control program which includes [Best Management Practices] that are appropriate for the conditions at the construction site, including efforts to minimize the area of the land disturbance.” The legal authority must also give inspectors the authority to enter the site.

A municipal stormwater Construction Site Inspection program should include or address the following:

1. Construction Site Inventory
	* A tracking system to inventory projects and identify sites for inspection.
	* Track the results of inspection and prioritize sites based on factors such as proximity to waterways, size, slope, and history of past violations.
2. Construction Requirements and BMPs
	* Municipalities provide contractors with guidance on the appropriate selection and design of stormwater BMPs.
3. Plan Review Procedures
	* Submitted plans must be reviewed to ensure they address local requirements and protect water quality.
4. Public Input
	* Per the 2003 Massachusetts MS4 Permit, a program must allow the public to provide comment on inspection procedures, and must consider information provided by the public.
5. Construction Site Inspections
	* Identify an inspection frequency for each site.
	* See more detailed information below.
6. Enforcement Procedures
	* A written progressive enforcement policy for the inspection program.
	* Sanctions, both monetary and non-monetary, shall be utilized to ensure compliance with the program
7. Training and Education
	* Municipal staff conducting inspections should receive training on regulatory requirements, BMPs, inspections, and enforcement.

Conducting Stormwater Inspections at Construction Sites

The role of the construction inspector is to ensure that site operations match the approved site plans and the Stormwater Pollution Prevention Plan (SWPPP) for the project, and that all precautions are taken to prevent pollutants and sediment from the construction site from impacting local waterways. The inspector is also expected to determine the adequacy of construction site stormwater quality control measures.

The attached Construction Site Stormwater Inspection Report shall be used by the inspector during site visits. Construction site inspectors should abide by the following guidelines:

1. Inspections to monitor stormwater compliance should be performed at least once per month at each active construction site, with priority placed on sites that require coverage under the USEPA 2012 Construction General Permit (i.e., that disturb one or more acres), and sites that are located in the watershed of any 303(d) water bodies.
2. The inspection shall begin at a low point and work uphill, observing all discharge points and any off-site support activities.
3. Written and photographic records shall be maintained for each site visit.
4. During the inspection, the inspector should ask questions of the contractor. Understanding the selection, implementation, and maintenance of BMPs is an important goal of the inspection process, and requires site-specific input.
5. The inspector should not recommend or endorse solutions or products. The inspector may offer appropriate advice, but all decisions must be made by the contractor.
6. The inspector shall always wear personal protective equipment appropriate for the site.
7. The inspector shall abide by the contractor’s site-specific safety requirements.
8. The inspector has legal authority to enter the site. However, if denied permission to enter the site, the inspector should never force entry.

Prior to planning a site visit, the inspector shall determine if the project is subject to USEPA’s 2012 Construction General Permit, which is true if the the project disturbs one or more acres, total. The 2012 Construction General Permit replaces the 2008 Construction General Permit , which expired on February 15, 2012. Operators of sites that required coverage under the USEPA’s 2008 Construction General Permit but continue to be active should have submitted a new Notice of Intent (NOI) under the 2012 Permit.

If the site requires this coverage, the inspector shall visit the USEPA Region 1 eNOI website (<http://cfpub.epa.gov/npdes/stormwater/cgpenoi.cfm> or [http://cfpub.epa.gov/npdes/stormwater/ noi/noisearch.cfm](http://cfpub.epa.gov/npdes/stormwater/%20noi/noisearch.cfm)) to determine if the contractor filed for coverage under the 2012 and/or 2008 Construction General Permits, respectively. Print a copy of the project’s NOI.

If the project disturbs one or more acres and is under construction, but does not show up in either database, the project is in violation of the Construction General Permit. Call the contractor to determine if the NOI process has been started. If not, notify the contractor verbally of this requirement and the violation. Work cannot proceed on the site until a Notice of Intent (NOI) for coverage under the 2012 Construction General Permit has been approved by USEPA. The inspector may choose to print instructions on how to file an NOI and meet with the contractor to review these. Issue a written Stop Work Order until the NOI has been approved by USEPA.

Once it has been determined that the site is in compliance with the 2012 Construction General Permit, the site inspection process can continue. The Construction Site Inspection process shall include the following:

1. Plan the inspection before visiting the construction site
	1. Obtain and review permits, site plans, previous inspection reports, and any other applicable information.
	2. Print the approved NOI from the USEPA 2012 Construction General Permit NOI website, listed previously.
	3. Inform the contractor of the planned site visit.
2. Meet with the contractor
	1. Review the Construction SWPPP (if the site includes over one acre of disturbance) or other document, as required by the municipality’s legal authority. Compare BMPs in the approved site plans with those shown in the SWPPP.
	2. Review the project’s approved NOI and confirm that information shown continues to be accurate.
	3. Get a general overview of the project from the contractor.
	4. Review inspections done by the contractor.
	5. Review the status of any issues or corrective actions noted in previous inspection reports.
	6. Discuss any complaints or incidents since the last meeting.
3. Inspect perimeter controls
	1. Examine perimeter controls to determine if they are adequate, properly installed, and properly maintained.
	2. For each structural BMP, check structural integrity to determine if any portion of the BMP needs to be replaced or requires maintenance.
4. Inspect slopes and temporary stockpiles
	1. Determine if sediment and erosion controls are effective.
	2. Look for slumps, rills, and tracking of stockpiled materials around the site.
5. Compare BMPs in the site plan with the construction site conditions
	1. Determine whether BMPs are in place as specified in the site plan, and if the BMPs have been adequately installed and maintained.
	2. Note any areas where additional BMPs may be needed which are not specified in the site plans.
6. Inspect site entrances/exits
	1. Determine if there has been excessive tracking of sediment from the site.
	2. Look for evidence of additional entrances/exits which are not on the site plan and are not properly stabilized.
7. Inspect sediment basins
	1. Look for signs that sediment has accumulated beyond 50% of the original capacity of the basin.
8. Inspect pollution prevention and good housekeeping practices
	1. Inspect trash areas and material storage/staging areas to ensure that materials are properly maintained and that pollutant sources are not exposed to rainfall or runoff.
	2. Inspect vehicle/equipment fueling and maintenance areas for the presence of spill control measures and for evidence of leaks or spills.
9. Inspect discharge points and downstream, off-site areas
	1. Walk down the street and/or in other directions off-site to determine if erosion and sedimentation control measures are effective in preventing off-site impacts.
	2. Inspect down-slope catch basins to determine if they are protected, and identify whether sediment buildup has occurred.
10. Meet with the contactor again prior to leaving
	1. Discuss the effectiveness of current controls and whether modifications are needed.
	2. Discuss possible violations or concerns noted during the site inspection, including discrepancies between approved site plans, the SWPPP, and/or the implementation of stormwater controls.
	3. Agree on a schedule for addressing all discrepancies, and schedule a follow-up inspection.
11. Provide a written copy of the inspection report to the contractor.
12. Follow up, as determined, and provide copy of subsequent inspection to the contractor.
13. Use Stop Work orders, as needed, until compliance with the 2012 Construction General Permit and/or other document, as required by the municipality’s legal authority, can be achieved.

Attachments

1. Construction Site Stormwater Inspection Report

Related Standard Operating Procedures

1. SOP 9, Inspecting Constructed Best Management Practices